Experiment 08: Ratio control

Name: Shaunak Deshpande

Div.: TY-IC-C

Roll. No.: 39

GR no.: 11911180

Batch.: 2

Class : TY B.Tech Instrumentation & Control

Course Name : Building & Process Automation

Title: Ratio Control

This exercise is based on solids concentration control through the manipulation of the ratio between a main flow and a blend flow. The percent solids concentration exiting the blender is measured on-line and is the input to a concentration control. Changes in the inlet concentration of the main flow are a disturbance to the process. The process is shown below.

Steps:

- Step 1. In the ratio control workspace, change the mode of the Ratio block to Auto.

- Step 2. Change the Ratio SP (setpoint) over the following range: 0.3, 0.5, and 0.8. Observe the change in the blend flow and the process outlet concentration. Then set the Ratio SP to 0.5 and wait for the concentration to settle to a steady value.

- Step 3. Make a step change in the FEED and observe the way the ratio changes the dependent loop. Did the concentration change?

- Step 4. Change the ratio block to cascade mode. Change the setpoint of the analytical loop to 40% and observe the impact on the ratio setpoint. Does the measured concentration reach setpoint?

Step 1. In the ratio control workspace, change the mode of the Ratio block to Auto.

Change the mode from CASCADE to AUTO.

Step 2. Change the Ratio SP (setpoint) over the following range: 0.3, 0.5, and 0.8. Observe the change in the blend flow and the process outlet concentration. Then set the Ratio SP to 0.5 and wait for the concentration to settle to a steady value.

Change Setpoint from 0.37 to 0.3.

Change Setpoint from 0.3 to 0.5.

Change Setpoint from 0.5 to 0.8.

Change Setpoint from 0.8 to 0.5.

Chart:

Step 3. Make a step change in the FEED and observe the way the ratio changes the dependent loop. Did the concentration change?

Change setpoint of PID controller from 200 to 250.

Chart:

Step 4. Change the ratio block to cascade mode. Change the setpoint of the analytical loop to 40% and observe the impact on the ratio setpoint. Does the measured concentration reach setpoint?

Change Mode from AUTO to CASCADE.

Chart:

Conclusion:

In this lab we studied operation of ratio control and also learned about how process stream concentration is maintained at setpoint through the regulation of the blended streams ratio setpoint.